Accessibility Note: This document uses underlined and strike-through fonts to indicate text which is proposed for addition or removal, respectively. Please adjust your screen reader settings accordingly.

Board of Forestry and Fire Protection

Title 14 of the California Code of Regulations (14 CCR),

Division 1.5, Chapter 7, Article 4

Utility Clearance Exemptions, 2019

Accessibility Note: This document uses underlined and strike-through text to indicate regulatory language which is proposed for addition or removal, respectively. Please adjust your screen reader settings accordingly.

§ 1250. Purpose.

The purpose of Article 4 is to provide specific exemptions from: electric pole and tower fFirebreak clearance standards, electric cConductor clearance standards, and to specify when and where the standards apply.

Note: Authority cited: Sections 4292 and 4293, Public Resources Code. Reference: Sections 4292-4296, Public Resources Code.

§ 1251. Definitions.

The following definitions apply to this Article unless the context requires otherwise.

Defined word or phrase

“CAL FIRE” means the California Department of Forestry and Fire Protection.

“Conductor” means connector, a wire, or a combination of wires, and/or any other appliance designed and manufactured for use in the transmission and distribution of electrical current.

“Connector” means a device approved for energized electrical connections.

“Department-approved” means a piece of equipment approved by the Office of the State Fire Marshal.

“Director” means the director of CAL FIRE.

“Duff” means partially decayed leaves, needles, grass or other organic material accumulated on the ground.

“Firebreak” means a natural or artificial barrier usually created by the removal or modification of vegetation and other flammable materials for the purpose of preventing spread of fire.

“Hot lLine tTap or cClamp cConnector” means a cConnector designed to be used with a Grip-All Clamp stick (Shotgun) for connecting equipment jumper or tap cConductors to an energized main line or running cConnector.

“Insulated Conductors” mean supply conductors which are surrounded by an insulating material, the dielectric strength of which is sufficient to withstand the maximum difference of potential at normal operating voltages of the circuit without breakdown or puncture. A weather-resistant covering of a supply conductor does not qualify as an Insulated Conductor if it does not satisfy the dielectric strength requirement.

“Load Break Tool” means a tool used to safely open or close a circuit by controlling the arc that is created, and is designed to interrupt the current involved.

“Outer Circumference” means the exterior surface of a pole or tree at ground level or a series of straight lines tangent to the exterior of the legs of a tower at ground level. (See Figure 1, § 1258this Article.)

“Qualified Worker” means the same as section 1910.399 of the federal Occupational Safety and Health Standards.

“Self-supporting aerial cable” means an assembly of abrasion resistant insulated conductors supported by a messenger cable which is normally grounded, designed and manufactured to carry electrical current for installation on overhead pole lines or other similar overhead structures.

“Tree wire” means an insulated conductor covered with a high abrasion resistant, usually non-metallic, outer covering, designed and manufactured to carry electrical current for installation on overhead pole lines or other similar overhead structures.

Note: Authority cited: Sections 4292-4293, Public Resources Code. Reference: Sections 4292-4296, Public Resources Code, Section 1910.399, Federal Occupational Safety and Health Standards.

§ 1252.1. Official Area Maps.

The official maps of State Responsibility Areas defined in 14 CCR § 1220 are available for viewing and copying during normal business hours at the California Department of Forestry and Fire Protection (CAL FIRE), 1416 Ninth Street, Sacramento, California, 95814, in the Fire Protection Section. The official maps are also available on the CAL FIRE Fire Resource and Assessment Program webpage.

When, pursuant to PRC 4125-4128, the Board revises State Responsibility Area boundaries, the Director will forward a legal description of a boundary change(s) to the respective electric utility(s) serving the area(s).

Note: Authority cited: Sections 4292, 4293, Public Resources Code. Reference: Sections 4125-4128, 4292, 4293, Public Resources Code.

§ 1252.3. Boundary Location -Section Lines, Etc.

Where the boundaries of the area described in 14 CAC 1252 are on section, township or range lines, or on powerline rights-of-way, the poles, towers and cConductors located thereon are within the area described.

Note: Authority cited: Sections 4292 and 4293, Public Resources Code. Reference: Sections 4125-4128, 4292 and 4293, Public Resources Code.

§ 1253. Time When PRC 4292-4296 Apply.

The minimum fFirebreak and clearance provisions in of PRC 4292-4296 are applicable during the declared California Department of Forestry and Fire Protection fire season for a respective county. The Director shall post the declaration on the official Department web site. when CAL FIRE requires burn permits as described in PRC 4423, including when burn permits are suspended.

Note: Authority cited: Sections 4292 and 4293, Public Resources Code. Reference: Sections 4125-4128, 4292 and 4293, Public Resources Code.

§ 1254. Minimum Clearance Provisions - PRC 4292.

The fFirebreak clearances required by PRC 4292 are applicable within an imaginary cylindroidal space surrounding each pole or tower on which a switch, fuse, transformer or lightning arrester is attached and surrounding each dead end or corner pole unless such pole or tower is exempt from minimum clearance requirements by provisions of 14 CCR 1255 or PRC 4296. The radius of the cylindroid is 3.1 m (10 feet) measured horizontally from the oOuter cCircumference of the specified pole or tower with height equal to the distance from the intersection of the imaginary vertical exterior surface of the cylindroid with the ground to an intersection with a horizontal plane passing through the highest point at which a conductor is attached to such pole or tower. (See Figure 2 § 1258 this Article.) Flammable vegetation and materials located wholly or partially within the fFirebreak space shall be treated as follows:

(a) At ground level -remove flammable materials, including but not limited to, ground litter, dDuff and dead or desiccated vegetation that will allow fire to spread, and;

(b) From 0-2.4 m (0-8 feet) above ground level -remove flammable trash, debris or other materials, grass, herbaceous herbacious and brush vegetation. All limbs and foliage of living trees shall be removed up to a height of 2.4 m (8 feet).

(c) From 2.4 m (8 feet) to horizontal plane of highest point of cConductor attachment -remove dead, diseased or dying limbs and foliage from living sound trees and any dead, diseased or dying trees in their entirety.

Note: Authority cited: Section 4292, Public Resources Code. Reference: Section 4292, Public Resources Code.

§ 1255. Exemptions to Minimum Clearance Provisions -PRC 4292.

The minimum clearance provisions of PRC 4292 are not required around poles and towers, including line junction, corner and dead end poles and towers:

(a) Where all cConductors are continuous over or through a pole or tower; or

(b) Where fire will not propagate in the following areas:

(1) fields planted to row crops;

(2) plowed or cultivated fields;

(3) producing vineyards that are plowed or cultivated;

(4) fields in nonflammable summer fallow;

(5) irrigated pasture land;

(6) orchards of fruit, nut, or citrus trees that are plowed or cultivated;

(7) Christmas tree farms that are plowed or cultivated; and

(8) swamp, marsh or bog land.

(c) Where vegetation surrounding utility infrastructure is planted or maintained for the specific purpose(s) of protecting sensitive habitat, preventing soil erosion, or aesthetics or residential landscape improvement, the species shall be compatible with the surrounding utility infrastructure and shall be of types that are fire-retardant or fire-resistant, selecting native plants where possible, or those recommended by a local University of California Cooperative Extension Advisor, and shall be maintained or modified to eliminate ladder fuels.

(bd) Where all cConductors are not continuous over or through a pole or tower, provided, all cConductors and subordinate equipment are of the types listed below and are properly installed, maintained, and used for the purpose for which they were designed and manufactured:;

(1) compression cConnectors,

(2) automatic cConnectors that are not splices,

(3) parallel groove cConnectors,

(4) hHot lLine tTap or cClamp cConnectors that were designed to absorb any expansion or contraction by applying spring tension on the main line or running cConductor and tap cConnector,

(5) Fargo GA 300 series piercing cConnectors, designed and manufactured for Insulated Conductors, use with tree wire,

(6) flat plate cConnectors installed with not less than two bolts,

(7) tapered C-shaped member and wedge cConnectors,

(8) automatic dead-ends,

(89) solid blade single phase bypass switches and solid blade single phase disconnect switches associated with circuit reclosers, sectionalizers, and line regulators, or when solid blade single phase bypass switches and solid blade single phase disconnect switches are operated by a Qualified Worker using a Load Break Tool,

(910) equipment that is completely sealed and liquid-filled; or uses Vacuum Interrupter (VI) technology; or uses air insulation technology with Department-approved spark prevention units.

(1011) current limiting non-expulsion fuses, or

(12) pole line hardware that does not carry current, or

(13) lightning/surge protection devices with Department-approved spark prevention units.

(c) On the following areas if fire will not propagate thereon;

(1) fields planted to row crops,;

(2) plowed or cultivated fields,

(3) producing vineyards that are plowed or cultivated;

(4) fields in nonflammable summer fallow;

(5) irrigated pasture land;

(6) orchards of fruit, nut or citrus trees that are plowed or cultivated,

(7) Christmas tree farms that are plowed or cultivated; and

(8) swamp, marsh or bog land; or

(d) Where vegetation is maintained less than 30.48 cm (12 inches) in height, is fire resistant, and is planted and maintained for the specific purpose of preventing soil erosion and fire ignition.

Note: Authority cited: Section 4292, Public Resources Code. Reference: Section 4292, Public Resources Code., Section 1910.399, Federal Occupational Safety and Health Standards.

§ 1256. Minimum Clearance Provisions -PRC 4293.

Minimum clearance required by PRC 4293 shall be maintained with the specified distances measured at a right angle to the cConductor axis at any location outward throughout an arc of 360 degrees. (See Figure 3 § 1258this Article.)

Minimum clearance shall include:

(1) any position through which the cConductor may move, considering, among other things, the size and material of the cConductor and its span length;

(2) any position through which the vegetation may sway, considering, among other things, the climatic conditions, including such things as foreseeable wind velocities and temperature, and location, height and species of the vegetation.

Note: Authority cited: Section 4293, Public Resources Code. Reference: Sections 4293 and 4296, Public Resources Code.

§ 1257. Exempt Minimum Clearance Provisions - PRC 4293.

(a) The minimum clearance provisions of PRC 4293 applicable in State Responsibility Areas are exempted where Conductors are:

(1) Where conductors are:

(A1) insulated tree wire, maintained with the high density, abrasion resistant outer covering intact, and six (6) inches or more from the outer edge of the nearest tree at all times, or

(B2) insulated self-supporting aerial cable systems, maintained with the insulation and the high density, abrasion resistant outer covering intact, and six (6) inches or more from the outer edge of the nearest tree at all times, or

(C3) supported by sound and living tree trunks from which all dead or decadent branches have been removed.

(i) Where Conductor spans are newly constructed or re-constructed after July 1, 2020 in the California Public Utility Commission High Fire Threat District Tiers 2 and 3, they shall not be attached to or supported by tree trunks.

(ii) All Conductors shall be removed and fastened to free-standing poles by July 1, 2025, or otherwise in accordance with a timeline approved by the Director. This timeline shall provide reasonable accommodations for financial, logistical, or other implementation barriers while prioritizing swift compliance with this section to provide adequate fire protection to the state. Reports on the implementation of this section shall be submitted with the report required in 14 CCR 1257(c).

(24) On areas described in 14 CCR 1255(ca), or

(35) For mature trees (“Exempt Trees”) whose trunks and major limbs are located more than six (6) inches, but less than the distance required for clearance by PRC 4293, from primary distribution equipment (cConductor and energy carrying hardware, generally less than 35 kilovolts).

(bA) Exempt Trees must meet all of the following criteria, as confirmed by a Certified Arborist or a Registered Professional Forester:

(1). The tree or limb must be six (6) inches or more from the line at all times.

(2). The size of the tree or limb at the cConductor level must be at least six (6) inches in diameter.

(3). The tree must not have “scaffold branches,” below eight and one-half feet from the ground (so the tree can not be easily climbed).

(cB) All Utility Companies with primary distribution Conductors in State Responsibility Areas (SRA) of California shall:

(1). Inspect Exempt Trees annually to verify they continue to meet the criteria in 14 CCR 1257(a)(3).

(2). Maintain a database of information about Exempt Trees that includes 1) location, using the format of latitude/longitude in decimal degrees (DDD.DDDD Datum WGS84); 2) species; and 3) last date of inspection. If any Utility does not currently maintain such a database it must establish one and provide its initial report to CAL FIRE by July 1, 2013. Utilities may request, and the Director may approve, an extension of time in which to achieve compliance with this reporting requirement.

(3). Report the information required pursuant to 14 CCR 1257(c)(a)(B)(2) above, in an electronically researchable format, annually to CAL FIRE by July 1 of each year for the previous calendar year.

(4). When constructing, installing, replacing, or maintaining primary distribution equipment, prevent the creation of new Exempt Trees, to the extent feasible.

(dC) Where there are site specific indications that a Conductor has or will come into contact with an Exempt Tree, or portion thereof as described above, the condition will be corrected either by altering the tree or by applying an engineering solution, such as a non-conductive cross arm. The actions taken will be documented in that utility's Exempt Tree database.

(e) When subordinate elements, such as tree anchors, are fastened to living, sound trees, the requirements of PRC 4292 and 4293 shall apply the same as to a pole or tower line.

(fb) These exemptions do not apply to trees which are injured, diseased, dead, or affected by insect or fungus attacks. “Hazard Trees” as identified and explained on pages 1-20 through 1-24 in the Department's “Powerline Fire Prevention Field Guide” dated November 2008 and posted on the Department's website at: http://cdfdata.fire.ca.gov/pub/fireplan/fpupload/fppguidepdf126.pdf.

Note: Authority cited: Sections 4111 and 4293, Public Resources Code. Reference: Sections 4293 and 4296, Public Resources Code.

§ 1258. Tree Lines. Figures

When electric conductors and subordinate elements are fastened to living, sound trees, commonly referred to as tree lines, the requirements of PRC 4292 and 4293 shall apply the same as to a pole or tower line.

Figure 1 Image 1 within § 1258. Tree Lines.​

*****No change to this image********

Figure 2 Image 2 within § 1258. Tree Lines.​

Figure 3 Image 3 within § 1258. Tree Lines.​

Note: Authority cited: Sections 4292 and 4293, Public Resources Code. Reference: Sections 4292, 4293, and 4296, Public Resources Code.